## 48" & under Statewide (1)
| COMPUTED BY: |  |  |  | KA/MH | [10 empty] | DATE: | 2017-05-04 | [65 empty] | PROJECT NO. |  |  | SHEET NO.
| CHECKED BY: |  |  |  | BM | [10 empty] | DATE: | 2017-05-04 |  |  |  |  | NORTH CAROLINA DEPARTMENT OF TRANSPORTATION | [60 empty] | I-5786 |  |  | 3D-1
DIVISION OF HIGHWAYS
LIST OF PIPES, ENDWALLS, ETC. (FOR PIPES 48 INCHES & UNDER)
STATION | LOCATION (LT, RT, OR CL)' | STRUCTURE NO. |  | TOP ELEVATION | INVERT ELEVATION | INVERT ELEVATION | SLOPE CRITICAL | DRAINAGE PIPE (RCP, CSP, CAAP, HDPE, or PVC) | [11 empty] | WELDED STEEL PIPE | [7 empty] | R.C. PIPE CLASS III | [7 empty] | R.C. PIPE CLASS IV | [7 empty] | ** " R.C. PIPE (CLASS V) | ***" RC PIPE CULVERTS, CONTRACTOR DESIGN | ***" RC PIPE CULVERTS, CONTRACTOR DESIGN | 15" SIDE DRAIN PIPE | 18" SIDE DRAIN PIPE | ENDWALLS |  | QUANTITIES FOR DRAINAGE STRUCTURES *TOTAL L.F. FOR PAY QUANTITY SHALL BE COL. 'A' + (1.3 X COL.'B') |  |  | C.B. STD. 840.01 OR STD. 840.02 | FRAME, GRATES, AND HOOD STANDARD 840.03 |  |  | CONCRETE TRANSITIONAL SECTION |  | D.I. STD. 840.14 OR STD. 840.15 | D.I. FRAME WITH TWO GRATES STD. 840.16 | G.D.I. TYPE "A" STD. 840.17 OR 840.26 | G.D.I. TYPE "B" STD. 840.18 OR 840.27 | G.D.I. TYPE "D" STD. 840.19 OR 840.28 | G.D.I. FRAME WITH GRATE STD. 840.20 | G.D.I. FRAME WITH TWO GRATES STD. 840.20 | G.D.I. FRAME WITH TWO GRATES STD. 840.22 | G.D.I. (N.S.) FRAME WITH GRATE STD. 840.24 | G.D.I. (N.S.) FRAME WITH TWO GRATES STD. 840.24 | J.B. STD. 840.31 OR 840.32 | FRAME w/ COVER, STD. 840.54 | ADJUST D.I. | CONV. EXIST DI TO J.B. | T.B.D.I. STD. 840.35 | G.D.I. (N.S.) FRAME WITH GRATE STD. 840.29 | T.B.J.B. STD. 840.34 | FLOWABLE FILL (C.Y.) | G.D.I. TYPE "A" EXTRA DEPTH (SEE DETAIL SHEET 2C-16) | DRAINAGE PIPE ELBOWS NO. & SIZE |  |  | CONC. & BRICK PIPE PLUG, C.Y. STD. 840.71 | CONC. COLLARS CL. "B" C.Y. STD. 840.72 | PIPE REMOVAL LIN. FT. | ABBREVIATIONS
[49 empty] | STD. 838.01 838.11 OR STD. 838.80 (UNLESS NOTED OTHERWISE) | [35 empty] | C.B. N.D.I. D.I. G.D.I. G.D.I.(N.S.) J.B. M.H. T.B.D.I. T.B.J.B. | CATCH BASIN NARROW DROP INLET DROP INLET GRATED DROP INLET (NARROW SLOT) JUNCTION BOX MANHOLE TRAFFIC BEARING DROP INLET TRAFFIC BEARING JUNCTION BOX
[51 empty] | PER EACH (0' THRU 5.0') | LIN. FT. | [5 empty] | DROP INLET | CATCH BASIN
[8 empty] | 12 | 15 | 18 | 24 | 30 | 36 | 42 | 48 | DO NOT USE RCP | DO NOT USE CSP | DO NOT USE CAAP | DO NOT USE HDPE | 12 | 15 | 18 | 24 | 30 | 36 | 42 | 48 | 12 | 15 | 18 | 24 | 30 | 36 | 42 | 48 | 12 | 15 | 18 | 24 | 30 | 36 | 42 | 48 | [5 empty] | CU. YARDS
SIZE | [51 empty] | A | B
THICKNESS OR GAUGE |  | FROM | TO | [17 empty] | 0.28" THICK, GRADE B IN SOIL | 0.31" THICK, GRADE B IN SOIL | 0.31" THICK, GRADE B IN SOIL | [25 empty] | R.C.P. | C.S.P. |  | 5.0' THRU 10.0' | 10.0' AND ABOVE |  | TYPE OF GRATE
[55 empty] | E | F | G | [27 empty] | REMARKS
14+86 -L- | LT | 401 |  | 176.2 | [67 empty] | 1
14+87 -L- | RT | 402 |  | 176.3 | [67 empty] | 1
13+35 -L- | LT | 403 |  |  | 171.9
|  | 403 | 404 |  | 171.9 | 171.7 | [31 empty] | 76 | [45 empty] | 145
14+10 -L- | LT | 404 |  | 176.3 | 171.7 | [45 empty] | 1 | [22 empty] | 1 | 1
|  | 404 | 405 |  | 171.7 | 171.5 | [31 empty] | 72
14+85 -L- | LT | 405 |  | 176 | 171.5 | [45 empty] | 1 | [22 empty] | 1 | 1
|  | 405 | 406 |  | 171.5 | 171.1 | [31 empty] | 32 | [45 empty] | 48
15+22 -L- | LT | 418 |  |  | 171 | 170.7 | [32 empty] | 48
15+90 -Y1- | LT | 409 |  | 199.7 | 196.9 | [45 empty] | 1 | [22 empty] | 1 | 1
|  | 409 | 410 |  | 196.9 | 196.8 | [30 empty] | 32 | [46 empty] | 54
15+90 -Y1- | RT | 410 |  | 199.7 | 196.8 | [45 empty] | 1 | [22 empty] | 1 | 1
|  | 410 | 411 |  | 196.8 | 174.5 |  |  | 48 | [6 empty] | X | [62 empty] | 2 | @ | 15" |  |  | 44
19+66 -Y1- | LT | 412 |  | 199.9 | 197.2 | [45 empty] | 1 | [22 empty] | 1 | 1
|  | 412 | 413 |  | 197.2 | 172.35 |  |  | 48 | [6 empty] | X | [62 empty] | 2 | @ | 15" |  |  | 70
19+66 -Y1- | RT | 414 |  | 199.9 | 197 | [45 empty] | 1 | [22 empty] | 1 | 1
|  | 414 | 415 |  | 197 | 177.6 |  |  | 48 | [6 empty] | X | [62 empty] | 2 | @ | 15" |  |  | 70
15+40 -L- | RT | 416 |  | 176.2 | 170.7 | [45 empty] | 1 | 0.3 | [18 empty] | 1 |  |  |  |  | 1
|  | 416 | 417 |  | 170.7 | 171.4 | [31 empty] | 40 | [45 empty] | 28
19+16 -L- | LT | 407 |  | 174.9 | 171.2 | [45 empty] | 1 | [11 empty] | 1 |  |  | 1 | [5 empty] | 1 | [12 empty] | ADJUST DI FOR TRAFFIC PHASING
|  | 407 | 408 |  | 171.2 | 171.2 | [30 empty] | 4
19+16 -L- | RT | 408 |  | 174.9 | 171.2 | [45 empty] | 1 | [11 empty] | 1 |  |  | 1 | [5 empty] | 1 | [12 empty] | ADJUST DI FOR TRAFFIC PHASING
|  | 408 | 419 |  | 171.2 | 170 | [30 empty] | 280
22+00 -L- | LT | 418 |  | 174.8 | [46 empty] | 1 | [11 empty] | 1 |  |  | 1 | [5 empty] | 1 | [12 empty] | ADJUST DI FOR TRAFFIC PHASING
|  | 418 | 419 |  | 170 | 170 | [30 empty] | 4
22+00 -L- | RT | 419 |  | 174.8 | [46 empty] | 1 | [11 empty] | 1 |  |  | 1 | [5 empty] | 1 | [12 empty] | ADJUST DI FOR TRAFFIC PHASING
|  | 419 | 502 |  | 169.7 | 168.9 | [31 empty] | 272
24+76 -L- | LT | 501 |  | 174.3 | 168.9 | [45 empty] | 1 | 0.4 | [10 empty] | 1 |  |  | 1 | [5 empty] | 1 | [12 empty] | ADJUST DI FOR TRAFFIC PHASING
|  | 501 | 502 |  | 168.9 | 168.9 | [31 empty] | 4
24+76 -L- | RT | 502 |  | 174.3 | 168.9 | [45 empty] | 1 | 0.7 | [10 empty] | 1 |  |  | 1 | [5 empty] | 1 | [12 empty] | ADJUST DI FOR TRAFFIC PHASING
24+77 -L- | RT | 503 | [80 empty] | 0.4465
|  | 503 | 504 |  | 167.8 | 167.7 | [31 empty] | 8
33+76 -L- | LT | 505 |  | 173.3 | 168.3 | [45 empty] | 1 | 0.1 | [10 empty] | 1 |  |  | 1 | [5 empty] | 1 | [12 empty] | ADJUST DI FOR TRAFFIC PHASING
|  | 505 | 506 |  | 168.3 | 168.2 | [31 empty] | 4
33+76 -L- | RT | 506 |  | 173.3 | 168.2 | [45 empty] | 1 | 0.1 | [10 empty] | 1 |  |  | 1 | [5 empty] | 1 | [12 empty] | ADJUST DI FOR TRAFFIC PHASING
37+50 -L- | LT | 601 |  | 172.4 | 170.4 | [45 empty] | 1 | [12 empty] | 1 |  | 1 | [5 empty] | 1 | [12 empty] | ADJUST DI FOR TRAFFIC PHASING
|  | 601 | 602 |  | 170.4 | 170.4 | [30 empty] | 4
37+50 -L- | RT | 602 |  | 172.4 | 170.4 | [45 empty] | 1 | [12 empty] | 1 |  | 1 | [5 empty] | 1 | [12 empty] | ADJUST DI FOR TRAFFIC PHASING
|  | 602 | 604 |  | 170.4 | 170.1 | [30 empty] | 96
38+50 -L- | LT | 603 |  | 172.4 | 170.1 | [45 empty] | 1 | [12 empty] | 1 |  | 1 | [5 empty] | 1 | [12 empty] | ADJUST DI FOR TRAFFIC PHASING
|  | 603 | 604 |  | 170.1 | 170.1 | [30 empty] | 4
SHEET TOTALS | [8 empty] | 144 | [27 empty] | 424 | 508 | 48 | [11 empty] | 18 | 1.6 | [10 empty] | 8 | 3 |  | 11 |  |  |  |  | 1 | 13 |  | 6 | 6 | 1 |  |  | 6 | @ | 15" |  | 0.4465 | 459
[83 empty] | PROJECT NO. |  |  | SHEET NO.
#REF!
[83 empty] | CONC. & BRICK PIPE PLUG, C.Y. STD. 840.71 | PIPE REMOVAL LIN. FT. |  | ABBREVIATIONS
[85 empty] | C.B. N.D.I. D.I. M.D.I. M.D.I.(N.S.) J.B. M.H. T.B.D.I. T.B.J.B. | CATCH BASIN NARROW DROP INLET DROP INLET MEDIAN DROP INLET MEDIAN DROP INLET (NARROW SLOT) JUNCTION BOX MANHOLE TRAFFIC BEARING DROP INLET TRAFFIC BEARING JUNCTION BOX
REMARKS
[85 empty] | #REF! | 2017-06-01 08:50
Note: Invert Elevations indicated are for Bid Purposes only and shall not be used for project construction stakeout.
See "Standard Specifications For Roads and Structures, Section 300-5".

## 48" & under Statewide (2)
| COMPUTED BY: |  |  |  | KA/MH | [10 empty] | DATE: | 2017-05-04 | [63 empty] | PROJECT NO. |  |  | SHEET NO.
| CHECKED BY: |  |  |  | BM | [10 empty] | DATE: | 2017-05-04 |  |  |  |  | NORTH CAROLINA DEPARTMENT OF TRANSPORTATION | [58 empty] | I-5786 |  |  | 3D-2
DIVISION OF HIGHWAYS
LIST OF PIPES, ENDWALLS, ETC. (FOR PIPES 48 INCHES & UNDER)
STATION | LOCATION (LT, RT, OR CL)' | STRUCTURE NO. |  | TOP ELEVATION | INVERT ELEVATION | INVERT ELEVATION | SLOPE CRITICAL | DRAINAGE PIPE (RCP, CSP, CAAP, HDPE, or PVC) | [11 empty] | WELDED STEEL PIPE | [7 empty] | R.C. PIPE CLASS III | [7 empty] | R.C. PIPE CLASS IV | [7 empty] | ** " R.C. PIPE (CLASS V) | ***" RC PIPE CULVERTS, CONTRACTOR DESIGN | ***" RC PIPE CULVERTS, CONTRACTOR DESIGN | 15" SIDE DRAIN PIPE | 18" SIDE DRAIN PIPE | ENDWALLS |  | QUANTITIES FOR DRAINAGE STRUCTURES *TOTAL L.F. FOR PAY QUANTITY SHALL BE COL. 'A' + (1.3 X COL.'B') |  |  | C.B. STD. 840.01 OR STD. 840.02 | FRAME, GRATES, AND HOOD STANDARD 840.03 |  |  | CONCRETE TRANSITIONAL SECTION |  | D.I. STD. 840.14 OR STD. 840.15 | D.I. FRAME WITH TWO GRATES STD. 840.16 | G.D.I. TYPE "A" STD. 840.17 OR 840.26 | G.D.I. TYPE "B" STD. 840.18 OR 840.27 | G.D.I. TYPE "D" STD. 840.19 OR 840.28 | G.D.I. FRAME WITH GRATE STD. 840.20 | G.D.I. FRAME WITH TWO GRATES STD. 840.20 | G.D.I. FRAME WITH TWO GRATES STD. 840.22 | G.D.I. (N.S.) FRAME WITH GRATE STD. 840.24 | G.D.I. (N.S.) FRAME WITH TWO GRATES STD. 840.24 | J.B. STD. 840.31 OR 840.32 | FRAME w/ COVER, STD. 840.54 | ADJUST D.I. | CONV. EXIST DI TO J.B. | T.B.D.I. STD. 840.35 | G.D.I. (N.S.) FRAME WITH GRATE STD. 840.29 | T.B.J.B. STD. 840.34 | FLOWABLE FILL (C.Y.) | G.D.I. TYPE "A" EXTRA DEPTH (SEE DETAIL SHEET 2C-16) | DRAINAGE PIPE ELBOWS NO. & SIZE | CONC. & BRICK PIPE PLUG, C.Y. STD. 840.71 | CONC. COLLARS CL. "B" C.Y. STD. 840.72 | PIPE REMOVAL LIN. FT. | ABBREVIATIONS
[49 empty] | STD. 838.01 838.11 OR STD. 838.80 (UNLESS NOTED OTHERWISE) | [33 empty] | C.B. N.D.I. D.I. G.D.I. G.D.I.(N.S.) J.B. M.H. T.B.D.I. T.B.J.B. | CATCH BASIN NARROW DROP INLET DROP INLET GRATED DROP INLET (NARROW SLOT) JUNCTION BOX MANHOLE TRAFFIC BEARING DROP INLET TRAFFIC BEARING JUNCTION BOX
[51 empty] | PER EACH (0' THRU 5.0') | LIN. FT. | [5 empty] | DROP INLET | CATCH BASIN
[8 empty] | 12 | 15 | 18 | 24 | 30 | 36 | 42 | 48 | DO NOT USE RCP | DO NOT USE CSP | DO NOT USE CAAP | DO NOT USE HDPE | 12 | 15 | 18 | 24 | 30 | 36 | 42 | 48 | 12 | 15 | 18 | 24 | 30 | 36 | 42 | 48 | 12 | 15 | 18 | 24 | 30 | 36 | 42 | 48 | [5 empty] | CU. YARDS
SIZE | [51 empty] | A | B
THICKNESS OR GAUGE |  | FROM | TO | [17 empty] | 0.28" THICK, GRADE B IN SOIL | 0.31" THICK, GRADE B IN SOIL | 0.31" THICK, GRADE B IN SOIL | [25 empty] | R.C.P. | C.S.P. |  | 5.0' THRU 10.0' | 10.0' AND ABOVE |  | TYPE OF GRATE
[55 empty] | E | F | G | [25 empty] | REMARKS
38+50 -L- | RT | 604 |  | 172.4 | 170.1 | [45 empty] | 1 | [12 empty] | 1 |  | 1 | [5 empty] | 1 | [10 empty] | ADJUST DI FOR TRAFFIC PHASING
|  | 604 | 606 |  | 170.1 | 169.9 | [31 empty] | 68
39+50 -L- | LT | 607 |  | 172.3 | 170 | [45 empty] | 1 | [12 empty] | 1 |  | 1 | [5 empty] | 1 | [10 empty] | ADJUST DI FOR TRAFFIC PHASING
|  | 607 | 608 |  | 170 | 170 | [30 empty] | 4
39+50 -L- | RT | 608 |  | 172.5 | 170 | [45 empty] | 1 | [12 empty] | 1 |  | 1 | [5 empty] | 1 | [10 empty] | ADJUST DI FOR TRAFFIC PHASING
|  | 608 | 606 |  | 170 | 169.9 | [31 empty] | 28
39+21 -L- | LT | 606 |  | 172.4 | 169.9 | [45 empty] | 1 | [12 empty] | 1 |  | 1 | [5 empty] | 1 | [10 empty] | ADJUST DI FOR TRAFFIC PHASING
|  | 605 | 606 |  | 169.9 | 169.9 | [31 empty] | 4
39+21 -L- | RT | 605 |  | 172.4 | 169.9 | [45 empty] | 1 | [12 empty] | 1 |  | 1 | [5 empty] | 1 | [10 empty] | ADJUST DI FOR TRAFFIC PHASING
45+74 -L- | LT | 609 |  | 174.8 | 169.4 | [45 empty] | 1 | 0.4 | [10 empty] | 1 |  |  | 1 | [5 empty] | 1 | [10 empty] | ADJUST DI FOR TRAFFIC PHASING
|  | 609 | 610 |  | 169.4 | 169.4 | [31 empty] | 4
45+74 -L- | RT | 610 |  | 174.8 | 169.4 | [45 empty] | 1 | 0.7 | [10 empty] | 1 |  |  | 1 | [5 empty] | 1 | [10 empty] | ADJUST DI FOR TRAFFIC PHASING
54+72 -L- | RT | 701 |  | 179.2 | 173.9 | [45 empty] | 1 | 0.2 | [10 empty] | 1 |  |  | 1 | [5 empty] | 1 | [10 empty] | ADJUST DI FOR TRAFFIC PHASING
|  | 701 | 702 |  | 173.9 | 173.9 | [30 empty] | 4
54+72 -L- | LT | 702 |  | 179.1 | 173.9 | [45 empty] | 1 | 0.2 | [10 empty] | 1 |  |  | 1 | [5 empty] | 1 | [10 empty] | ADJUST DI FOR TRAFFIC PHASING
62+55 -L- | RT | 801 |  | 182.7 | 175.8 | [45 empty] | 1 | 1.9 | [10 empty] | 1 |  |  | 1 | [5 empty] | 1 | [10 empty] | ADJUST DI FOR TRAFFIC PHASING
|  | 801 | 802 |  | 175.8 | 175.8 | [31 empty] | 4
62+55 -L- | LT | 802 |  | 182.7 | 175.8 | [45 empty] | 1 | 1.9 | [10 empty] | 1 |  |  | 1 | [5 empty] | 1 | [10 empty] | ADJUST DI FOR TRAFFIC PHASING
70+14 -L- | LT | 803 |  | 186.3 | 180.8 | [45 empty] | 1 | 0.5 | [9 empty] | 1 |  |  |  | 1 | [5 empty] | 1 | [10 empty] | ADJUST DI FOR TRAFFIC PHASING
|  | 803 | 804 |  | 180.8 | 180.7 | [34 empty] | 8
70+10 -L- | RT | 804 |  | 186.3 | 180.7 | [45 empty] | 1 | 0.6 | [9 empty] | 1 |  |  |  | 1 | [5 empty] | 1 | [10 empty] | ADJUST DI FOR TRAFFIC PHASING
82+97 -L- | RT | 901 |  | 188.2 | 181.5 | [45 empty] | 1 | 1.7 | [10 empty] | 1 |  |  | 1 | [5 empty] | 1 | [10 empty] | ADJUST DI FOR TRAFFIC PHASING
|  | 901 | 902 |  | 181.5 | 181.5 | [34 empty] | 4
82+97 -L- | LT | 902 |  | 188.2 | 181.5 | [45 empty] | 1 | 1.7 | [10 empty] | 1 |  |  | 1 | [5 empty] | 1 | [10 empty] | ADJUST DI FOR TRAFFIC PHASING
83+00 -L- | LT | 903 |  | 183.7 | [76 empty] | 0.764
|  | 903 | 904 |  | 180.7 | 180.6 | [34 empty] | 4
83+00 -L- | LT | 904 |  | 184.4 | 180.6 | [45 empty] | 1 | [12 empty] | 1 |  |  | 1
94+29 L- | CL | 1001 |  | 181.5
102+51 -L- | RT | 1101 |  | 176.7 | 174.2 | [45 empty] | 1 | [12 empty] | 1 |  |  | 1
98+50 -L- | RT | 1002 |  | 179.8 | 177.1 | [45 empty] | 1 | [11 empty] | 1 |  |  |  | 1
|  | 1002 | 1003 |  | 177.1 | 176.7 | [30 empty] | 140
99+91 -L- | LT | 1003 |  | 179.4 | 176.7 | [45 empty] | 1 | [11 empty] | 1 |  |  | 1 | [5 empty] | 1 | [10 empty] | ADJUST DI FOR TRAFFIC PHASING
|  | 1003 | 1004 |  | 176.7 | 176.6 | [30 empty] | 4
99+91 -L- | RT | 1104 |  | 179.3 | 176.6 | [45 empty] | 1 | [11 empty] | 1 |  |  | 1 | [5 empty] | 1 | [10 empty] | ADJUST DI FOR TRAFFIC PHASING
|  | 1104 | 1106 |  | 176.6 | 175.1 | [30 empty] | 256
102+50 -L- | LT | 1105 |  | 177.9 | 175.1 | [45 empty] | 1 | [11 empty] | 1 |  |  | 1 | [5 empty] | 1 | [10 empty] | ADJUST DI FOR TRAFFIC PHASING
|  | 1105 | 1106 |  | 175.1 | 175.1 | [30 empty] | 4
102+50 -L- | RT | 1106 |  | 177.9 | 175.1 | [45 empty] | 1 | [11 empty] | 1 |  |  | 1 | [5 empty] | 1 | [10 empty] | ADJUST DI FOR TRAFFIC PHASING
|  | 1106 | 1108 |  | 175.1 | 172.6 | [31 empty] | 296
96+68 -L- | LT | 1005 |  | 178 | [46 empty] | 1 | [11 empty] | 1 |  |  |  | 1
|  | 1005 | 1006 |  | 174.1 | 174.1 | [31 empty] | 4
96+68 -L- |  | 1006 |  |  | 174.1 | [67 empty] | 1
SHEET TOTALS | [36 empty] | 412 | 408 |  |  | 16 | [9 empty] | 23 | 9.8 | [9 empty] | 2 | 14 | 7 |  | 19 | 4 |  |  |  |  | 19 | 1 | [7 empty] | 0.764
[81 empty] | PROJECT NO. |  |  | SHEET NO.
#REF!
[81 empty] | CONC. & BRICK PIPE PLUG, C.Y. STD. 840.71 | PIPE REMOVAL LIN. FT. |  | ABBREVIATIONS
[83 empty] | C.B. N.D.I. D.I. M.D.I. M.D.I.(N.S.) J.B. M.H. T.B.D.I. T.B.J.B. | CATCH BASIN NARROW DROP INLET DROP INLET MEDIAN DROP INLET MEDIAN DROP INLET (NARROW SLOT) JUNCTION BOX MANHOLE TRAFFIC BEARING DROP INLET TRAFFIC BEARING JUNCTION BOX
REMARKS
[83 empty] | #REF! | 2017-06-01 08:50
Note: Invert Elevations indicated are for Bid Purposes only and shall not be used for project construction stakeout.
See "Standard Specifications For Roads and Structures, Section 300-5".

## 48" & under Statewide (3)
| COMPUTED BY: |  |  |  | KA/MH | [10 empty] | DATE: | 2017-05-04 | [63 empty] | PROJECT NO. |  |  | SHEET NO.
| CHECKED BY: |  |  |  | BM | [10 empty] | DATE: | 2017-05-04 |  |  |  |  | NORTH CAROLINA DEPARTMENT OF TRANSPORTATION | [58 empty] | I-5786 |  |  | 3D-3
DIVISION OF HIGHWAYS
LIST OF PIPES, ENDWALLS, ETC. (FOR PIPES 48 INCHES & UNDER)
STATION | LOCATION (LT, RT, OR CL)' | STRUCTURE NO. |  | TOP ELEVATION | INVERT ELEVATION | INVERT ELEVATION | SLOPE CRITICAL | DRAINAGE PIPE (RCP, CSP, CAAP, HDPE, or PVC) | [11 empty] | WELDED STEEL PIPE | [7 empty] | R.C. PIPE CLASS III | [7 empty] | R.C. PIPE CLASS IV | [7 empty] | ** " R.C. PIPE (CLASS V) | ***" RC PIPE CULVERTS, CONTRACTOR DESIGN | ***" RC PIPE CULVERTS, CONTRACTOR DESIGN | 15" SIDE DRAIN PIPE | 18" SIDE DRAIN PIPE | ENDWALLS |  | QUANTITIES FOR DRAINAGE STRUCTURES *TOTAL L.F. FOR PAY QUANTITY SHALL BE COL. 'A' + (1.3 X COL.'B') |  |  | C.B. STD. 840.01 OR STD. 840.02 | FRAME, GRATES, AND HOOD STANDARD 840.03 |  |  | CONCRETE TRANSITIONAL SECTION |  | D.I. STD. 840.14 OR STD. 840.15 | D.I. FRAME WITH TWO GRATES STD. 840.16 | G.D.I. TYPE "A" STD. 840.17 OR 840.26 | G.D.I. TYPE "B" STD. 840.18 OR 840.27 | G.D.I. TYPE "D" STD. 840.19 OR 840.28 | G.D.I. FRAME WITH GRATE STD. 840.20 | G.D.I. FRAME WITH TWO GRATES STD. 840.20 | G.D.I. FRAME WITH TWO GRATES STD. 840.22 | G.D.I. (N.S.) FRAME WITH GRATE STD. 840.24 | G.D.I. (N.S.) FRAME WITH TWO GRATES STD. 840.24 | J.B. STD. 840.31 OR 840.32 | FRAME w/ COVER, STD. 840.54 | ADJUST D.I. | CONV. EXIST DI TO J.B. | T.B.D.I. STD. 840.35 | G.D.I. (N.S.) FRAME WITH GRATE STD. 840.29 | T.B.J.B. STD. 840.34 | FLOWABLE FILL (C.Y.) | G.D.I. TYPE "A" EXTRA DEPTH (SEE DETAIL SHEET 2C-16) | DRAINAGE PIPE ELBOWS NO. & SIZE | CONC. & BRICK PIPE PLUG, C.Y. STD. 840.71 | CONC. COLLARS CL. "B" C.Y. STD. 840.72 | PIPE REMOVAL LIN. FT. | ABBREVIATIONS
[49 empty] | STD. 838.01 838.11 OR STD. 838.80 (UNLESS NOTED OTHERWISE) | [33 empty] | C.B. N.D.I. D.I. G.D.I. G.D.I.(N.S.) J.B. M.H. T.B.D.I. T.B.J.B. | CATCH BASIN NARROW DROP INLET DROP INLET GRATED DROP INLET (NARROW SLOT) JUNCTION BOX MANHOLE TRAFFIC BEARING DROP INLET TRAFFIC BEARING JUNCTION BOX
[51 empty] | PER EACH (0' THRU 5.0') | LIN. FT. | [5 empty] | DROP INLET | CATCH BASIN
[8 empty] | 12 | 15 | 18 | 24 | 30 | 36 | 42 | 48 | DO NOT USE RCP | DO NOT USE CSP | DO NOT USE CAAP | DO NOT USE HDPE | 12 | 15 | 18 | 24 | 30 | 36 | 42 | 48 | 12 | 15 | 18 | 24 | 30 | 36 | 42 | 48 | 12 | 15 | 18 | 24 | 30 | 36 | 42 | 48 | [5 empty] | CU. YARDS
SIZE | [51 empty] | A | B
THICKNESS OR GAUGE |  | FROM | TO | [17 empty] | 0.28" THICK, GRADE B IN SOIL | 0.31" THICK, GRADE B IN SOIL | 0.31" THICK, GRADE B IN SOIL | [25 empty] | R.C.P. | C.S.P. |  | 5.0' THRU 10.0' | 10.0' AND ABOVE |  | TYPE OF GRATE
[55 empty] | E | F | G | [25 empty] | REMARKS
105+50 -L- | LT | 1107 |  | 176.8 | 171.9 | [45 empty] | 1 | [11 empty] | 1 |  |  | 1 | [5 empty] | 1 | [10 empty] | ADJUST DI FOR TRAFFIC PHASING
|  | 1107 | 1108 |  | 171.9 | 171.9 | [32 empty] | 4
105+50 -L- | LT | 1108 |  | 176.6 | 171.9 | [45 empty] | 1 | [10 empty] | 1 |  |  |  | 1 | [5 empty] | 1 | [10 empty] | ADJUST DI FOR TRAFFIC PHASING
|  | 1108 | 1110 |  | 171.9 | 171.7 | [32 empty] | 48
106+00 -L- | RT | 1109 |  | 176.7 | 171.8 | [45 empty] | 1 | [11 empty] | 1 |  |  | 1 | [5 empty] | 1 | [10 empty] | ADJUST DI FOR TRAFFIC PHASING
|  | 1109 | 1110 |  | 171.8 | 171.7 | [32 empty] | 4
106+00 -L- |  | 1110 |  | 176.7 | 171.7 | [45 empty] | 1 | [10 empty] | 1 |  |  |  | 1 | [5 empty] | 1 | [10 empty] | ADJUST DI FOR TRAFFIC PHASING
|  | 1110 | 1112 |  | 171.7 | 171.5 | [32 empty] | 96
107+00 -L- | LT | 1111 |  | 176.8 | 172.1 | [45 empty] | 1 | [11 empty] | 1 |  |  | 1 | [5 empty] | 1 | [10 empty] | ADJUST DI FOR TRAFFIC PHASING
|  | 1111 | 1112 |  | 172.1 | 172.1 | [32 empty] | 4
107+00 -L- | RT | 1112 |  | 176.8 | 163.3 | [45 empty] | 1 | 5 | 3.5 | [12 empty] | 1 | [5 empty] | 1 | [5 empty] | 1 |  |  |  |  | ADJUST DI FOR TRAFFIC PHASING
112+87 -L- |  | 1113 |  | 180.8 | 166.4 | [45 empty] | 1 | 5 | 4.4 | [12 empty] | 1 | [5 empty] | 1 | [5 empty] | 1 |  |  |  |  | ADJUST DI FOR TRAFFIC PHASING
|  | 1113 | 1114 |  | 166.4 | 166.4 | [31 empty] | 4
112+87 -L- |  | 1114 |  | 180.9 | 166.4 | [45 empty] | 1 | 5 | 4.5 | [12 empty] | 1 | [5 empty] | 1 | [5 empty] | 1 |  |  |  |  | ADJUST DI FOR TRAFFIC PHASING
116+16 -L- | LT | 1201 |  | 183.3 | 167.7 | [45 empty] | 1 | 5 | 5.6 | [12 empty] | 1 | [5 empty] | 1 | [5 empty] | 1 |  |  |  |  | ADJUST DI FOR TRAFFIC PHASING
|  | 1201 | 1202 |  | 167.7 | 167.7 | [33 empty] | 8
116+23 -L- | RT | 1202 |  | 183.2 | 167.7 | [45 empty] | 1 | 5 | 5.5 | [12 empty] | 1 | [5 empty] | 1 | [5 empty] | 1 |  |  |  |  | ADJUST DI FOR TRAFFIC PHASING
125+86 -L- | LT | 1203 |  | 189.9 | 187.1 | [45 empty] | 1 | [11 empty] | 1 |  |  | 1 | [5 empty] | 1 | [10 empty] | ADJUST DI FOR TRAFFIC PHASING
|  | 1203 | 1204 |  | 187.1 | 187.1 | [30 empty] | 4
125+86 -L- | RT | 1204 |  | 190.4 | 187.1 | [45 empty] | 1 | [11 empty] | 1 |  |  | 1 | [5 empty] | 1 | [10 empty] | ADJUST DI FOR TRAFFIC PHASING
|  | 1204 | 1205 |  | 187.1 | 185.1 | [30 empty] | 312
125+87 -L- | RT | 1205 |  | 189.8 | 185.1 | [45 empty] | 1 | [11 empty] | 1 |  |  | 1 | [5 empty] | 1 | [8 empty] | 0.399 |  | ADJUST DI FOR TRAFFIC PHASING
|  | 1205 | 1206 |  | 185.1 | 185.1 | [30 empty] | 8
125+87 -L- | RT | 1206 |  | 189.3 | 185.1 | [45 empty] | 1 | [11 empty] | 1 |  |  | 1 | [5 empty] | 1 | [10 empty] | ADJUST DI FOR TRAFFIC PHASING
125+87 -L- | RT | 1207 |  | 186.1 | [76 empty] | 0.399
|  | 1207 | 1208 |  | 184.9 | 184.9 | [30 empty] | 8
135+00 -L- | LT | 1301 |  | 190.6 | 187.9 | [45 empty] | 1 | [11 empty] | 1 |  |  | 1 | [5 empty] | 1 | [10 empty] | ADJUST DI FOR TRAFFIC PHASING
|  | 1301 | 1302 |  | 187.9 | 187.6 | [30 empty] | 96
136+00-L- |  | 1302 |  | 190.6 | [46 empty] | 1 | [11 empty] | 1 |  |  | 1 | [5 empty] | 1 | [10 empty] | ADJUST DI FOR TRAFFIC PHASING
|  | 1302 | 1303 |  | 187.6 | 183.5 | [30 empty] | 84
136+88 -L- | LT | 1303 |  | 190.7 | 182.8 | [45 empty] | 1 | 2.9 | [10 empty] | 1 |  |  | 1 | [5 empty] | 1 | [10 empty] | ADJUST DI FOR TRAFFIC PHASING
|  | 1303 | 1304 |  | 182.8 | 182.6 | [32 empty] | 4
136+88 -L- | RT | 1304 |  | 190.7 | 182.6 | [45 empty] | 1 | 3.1 | [10 empty] | 1 |  |  | 1 | [5 empty] | 1 | [10 empty] | ADJUST DI FOR TRAFFIC PHASING
144+68 -L- | LT | 1401 |  | 191.5 | 186.8 | [45 empty] | 1 | [11 empty] | 1 |  |  | 1 | [5 empty] | 1 | [10 empty] | ADJUST DI FOR TRAFFIC PHASING
|  | 1401 | 1402 |  | 186.8 | 186.8 | [30 empty] | 4
144+68 -L- | RT | 1402 |  | 191.6 | 186.8 | [45 empty] | 1 | [11 empty] | 1 |  |  | 1 | [5 empty] | 1 | [10 empty] | ADJUST DI FOR TRAFFIC PHASING
SHEET TOTALS | [36 empty] | 516 | 4 | 160 | 8 | [10 empty] | 20 | 31 | 23.5 | [8 empty] | 2 | 13 |  |  | 20 | [5 empty] | 20 | [5 empty] | 5 |  |  | 0.798
[81 empty] | PROJECT NO. |  |  | SHEET NO.
#REF!
[81 empty] | CONC. & BRICK PIPE PLUG, C.Y. STD. 840.71 | PIPE REMOVAL LIN. FT. |  | ABBREVIATIONS
[83 empty] | C.B. N.D.I. D.I. M.D.I. M.D.I.(N.S.) J.B. M.H. T.B.D.I. T.B.J.B. | CATCH BASIN NARROW DROP INLET DROP INLET MEDIAN DROP INLET MEDIAN DROP INLET (NARROW SLOT) JUNCTION BOX MANHOLE TRAFFIC BEARING DROP INLET TRAFFIC BEARING JUNCTION BOX
REMARKS
[83 empty] | #REF! | 2017-06-01 08:50
Note: Invert Elevations indicated are for Bid Purposes only and shall not be used for project construction stakeout.
See "Standard Specifications For Roads and Structures, Section 300-5".

## 48" & under Statewide (4)
| COMPUTED BY: |  |  |  | KA/MH | [10 empty] | DATE: | 2017-05-04 | [65 empty] | PROJECT NO. |  |  | SHEET NO.
| CHECKED BY: |  |  |  | BM | [10 empty] | DATE: | 2017-05-04 |  |  |  |  | NORTH CAROLINA DEPARTMENT OF TRANSPORTATION | [60 empty] | I-5786 |  |  | 3D-4
DIVISION OF HIGHWAYS
LIST OF PIPES, ENDWALLS, ETC. (FOR PIPES 48 INCHES & UNDER)
STATION | LOCATION (LT, RT, OR CL)' | STRUCTURE NO. |  | TOP ELEVATION | INVERT ELEVATION | INVERT ELEVATION | SLOPE CRITICAL | DRAINAGE PIPE (RCP, CSP, CAAP, HDPE, or PVC) | [11 empty] | WELDED STEEL PIPE | [7 empty] | R.C. PIPE CLASS III | [7 empty] | R.C. PIPE CLASS IV | [7 empty] | ** " R.C. PIPE (CLASS V) | ***" RC PIPE CULVERTS, CONTRACTOR DESIGN | ***" RC PIPE CULVERTS, CONTRACTOR DESIGN | 15" SIDE DRAIN PIPE | 18" SIDE DRAIN PIPE | ENDWALLS |  | QUANTITIES FOR DRAINAGE STRUCTURES *TOTAL L.F. FOR PAY QUANTITY SHALL BE COL. 'A' + (1.3 X COL.'B') |  |  | C.B. STD. 840.01 OR STD. 840.02 | FRAME, GRATES, AND HOOD STANDARD 840.03 |  |  | CONCRETE TRANSITIONAL SECTION |  | D.I. STD. 840.14 OR STD. 840.15 | D.I. FRAME WITH TWO GRATES STD. 840.16 | G.D.I. TYPE "A" STD. 840.17 OR 840.26 | G.D.I. TYPE "B" STD. 840.18 OR 840.27 | G.D.I. TYPE "D" STD. 840.19 OR 840.28 | G.D.I. FRAME WITH GRATE STD. 840.20 | G.D.I. FRAME WITH TWO GRATES STD. 840.20 | G.D.I. FRAME WITH TWO GRATES STD. 840.22 | G.D.I. (N.S.) FRAME WITH GRATE STD. 840.24 | G.D.I. (N.S.) FRAME WITH TWO GRATES STD. 840.24 | J.B. STD. 840.31 OR 840.32 | FRAME w/ COVER, STD. 840.54 | ADJUST D.I. | CONV. EXIST DI TO J.B. | T.B.D.I. STD. 840.35 | G.D.I. (N.S.) FRAME WITH GRATE STD. 840.29 | T.B.J.B. STD. 840.34 | FLOWABLE FILL (C.Y.) | G.D.I. TYPE "A" EXTRA DEPTH (SEE DETAIL SHEET 2C-16) | DRAINAGE PIPE ELBOWS NO. & SIZE |  |  | CONC. & BRICK PIPE PLUG, C.Y. STD. 840.71 | CONC. COLLARS CL. "B" C.Y. STD. 840.72 | PIPE REMOVAL LIN. FT. | ABBREVIATIONS
[49 empty] | STD. 838.01 838.11 OR STD. 838.80 (UNLESS NOTED OTHERWISE) | [35 empty] | C.B. N.D.I. D.I. G.D.I. G.D.I.(N.S.) J.B. M.H. T.B.D.I. T.B.J.B. | CATCH BASIN NARROW DROP INLET DROP INLET GRATED DROP INLET (NARROW SLOT) JUNCTION BOX MANHOLE TRAFFIC BEARING DROP INLET TRAFFIC BEARING JUNCTION BOX
[51 empty] | PER EACH (0' THRU 5.0') | LIN. FT. | [5 empty] | DROP INLET | CATCH BASIN
[8 empty] | 12 | 15 | 18 | 24 | 30 | 36 | 42 | 48 | DO NOT USE RCP | DO NOT USE CSP | DO NOT USE CAAP | DO NOT USE HDPE | 12 | 15 | 18 | 24 | 30 | 36 | 42 | 48 | 12 | 15 | 18 | 24 | 30 | 36 | 42 | 48 | 12 | 15 | 18 | 24 | 30 | 36 | 42 | 48 | [5 empty] | CU. YARDS
SIZE | [51 empty] | A | B
THICKNESS OR GAUGE |  | FROM | TO | [17 empty] | 0.28" THICK, GRADE B IN SOIL | 0.31" THICK, GRADE B IN SOIL | 0.31" THICK, GRADE B IN SOIL | [25 empty] | R.C.P. | C.S.P. |  | 5.0' THRU 10.0' | 10.0' AND ABOVE |  | TYPE OF GRATE
[55 empty] | E | F | G | [27 empty] | REMARKS
152+75 -L- | LT | 1403 |  | 191.5 | [67 empty] | 1
159+00 -L- | LT | 1501 |  | 190.5 | 187.7 | [45 empty] | 1 | [11 empty] | 1 |  |  |  | 1
|  | 1501 | 1503 |  | 187.7 | 187.2 | [30 empty] | 156
160+60 -L- | LT | 1502 |  | 190.4 | 187 | [45 empty] | 1 | [11 empty] | 1 |  |  | 1 | [5 empty] | 1 | [12 empty] | ADJUST DI FOR TRAFFIC PHASING
|  | 1502 | 1503 |  | 187 | 187 | [31 empty] | 4
160+60 -L- | RT | 1503 |  | 190.4 | 190.4 | [45 empty] | 1 | [11 empty] | 1 |  |  | 1 | [5 empty] | 1 | [12 empty] | ADJUST DI FOR TRAFFIC PHASING
|  | 1503 | 1505 |  | 187 | 186.4 | [31 empty] | 212
164+91 -L- | LT | 1504 |  | 189.8 | 186.4 | [45 empty] | 1 | [11 empty] | 1 |  |  | 1 | [5 empty] | 1 | [12 empty] | ADJUST DI FOR TRAFFIC PHASING
|  | 1504 | 1505 |  | 186.4 | 186.4 | [31 empty] | 4
164+91 -L- | RT | 1505 |  | 189.7 | 186.4 | [45 empty] | 1 | [11 empty] | 1 |  |  | 1 | [5 empty] | 1 | [12 empty] | ADJUST DI FOR TRAFFIC PHASING
|  | 1505 | 1506 |  | 186.4 | 183.6 | [31 empty] | 212
164+91 -L- |  | 1506 |  | 189.1 | 183.6 | [45 empty] | 1 | [11 empty] | 1 |  |  | 1 | [5 empty] | 1 | [12 empty] | ADJUST DI FOR TRAFFIC PHASING
|  | 1506 | 1507 |  | 183.6 | 183.6 | [31 empty] | 4
|  | 1507 |  | 189.1 | 183.6 | [45 empty] | 1 | [11 empty] | 1 |  |  | 1 | [5 empty] | 1 | [12 empty] | ADJUST DI FOR TRAFFIC PHASING
171+87 -L- | RT | 1601 |  | 187 | 183 | [45 empty] | 1 | [11 empty] | 1 |  |  | 1 | [5 empty] | 1 | [12 empty] | ADJUST DI FOR TRAFFIC PHASING
|  | 1601 | 1602 |  | 183 | 183 | [31 empty] | 4
171+87 -L- | LT | 1602 |  | 187 | 183 | [45 empty] | 1 | [11 empty] | 1 |  |  | 1 | [5 empty] | 1 | [12 empty] | ADJUST DI FOR TRAFFIC PHASING
171+92 -L- | LT | 1603 |  | 184.3 | [78 empty] | 0.4465
|  | 1603 | 1604 |  | 182.8 | 182.7 | [31 empty] | 16
171+94 -L- | LT | 1604 |  |  | 182.7
177+84 -L- | RT | 1605 |  | 186 | 181.7 | [45 empty] | 1 | [11 empty] | 1 |  |  | 1 | [5 empty] | 1 | [12 empty] | ADJUST DI FOR TRAFFIC PHASING
|  | 1605 | 1606 |  | 181.7 | 181.5 | [32 empty] | 8
177+87 -L- | LT | 1606 |  | 186 | 181.5 | [45 empty] | 1 | [11 empty] | 1 |  |  | 1 | [5 empty] | 1 | [12 empty] | ADJUST DI FOR TRAFFIC PHASING
187+83 -L- | RT | 1701 |  | 184.8 | 180.2 | [45 empty] | 1 | [11 empty] | 1 |  |  | 1 | [5 empty] | 1 | [12 empty] | ADJUST DI FOR TRAFFIC PHASING
|  | 1701 | 1702 |  | 180.2 | 180.2 | [32 empty] | 4
187+85 -L- | LT | 1702 |  | 185 | 180.2 | [45 empty] | 1 | [11 empty] | 1 |  |  | 1 | [5 empty] | 1 | [12 empty] | ADJUST DI FOR TRAFFIC PHASING
198+32 -L- | RT | 1801 | 1802 |  | 179.4 | 179.3 | [31 empty] | 24 | [44 empty] | 0.4465
197+89 -L- | RT | 1803 |  | 183.1 | 179 | [45 empty] | 1 | [11 empty] | 1 | [5 empty] | 1 |  |  | 1 | [12 empty] | ADJUST DI FOR TRAFFIC PHASING
|  | 1803 | 1804 |  | 179 | 179 | [31 empty] | 4
197+86 -L- | LT | 1804 |  | 183.1 | 179 | [45 empty] | 1 | [11 empty] | 1 | [5 empty] | 1 |  |  | 1 | [12 empty] | ADJUST DI FOR TRAFFIC PHASING
18+90 -Y4- | RT | 1805 |  | 205.9 | 203.2 | [45 empty] | 1 | [22 empty] | 1 | 1
|  | 1805 | 1806 |  | 203.2 | 182.9 |  |  | 44 | [6 empty] | X | [62 empty] | 2 | @ | 15" |  |  | 14
18+90 -Y4- | LT | 1807 |  | 205.9 | 203.2 | [45 empty] | 1 | [22 empty] | 1 | 1
|  | 1807 | 1808 |  | 203.2 | 184.4 |  |  | 68 | [6 empty] | X | [62 empty] | 2 | @ | 15" |  |  | 14
21+64 -Y4- | RT | 1809 |  | 205.9 | 203.2 | [45 empty] | 1 | [22 empty] | 1 | 1
|  | 1809 | 1810 |  | 203.2 | 185 |  |  | 44 | [6 empty] | X | [62 empty] | 2 | @ | 15" |  |  | 21
21+64 -Y4- | LT | 1811 |  | 205.9 | 203.2 | [45 empty] | 1 | [22 empty] | 1 | 1
|  | 1811 | 1812 |  | 203.2 | 184.1 |  |  | 48 | [6 empty] | X | [62 empty] | 2 | @ | 15" |  |  | 16
207+50 -L- | RT | 1901 |  | 179.8 | 176.5 | [45 empty] | 1 | [11 empty] | 1 | [5 empty] | 1 |  |  | 1 | [12 empty] | ADJUST DI FOR TRAFFIC PHASING
|  | 1901 | 1902 |  | 176.5 | 176.5 | [30 empty] | 8
SHEET TOTALS | [8 empty] | 204 | [27 empty] | 164 | 484 | 12 | [11 empty] | 20 | [11 empty] | 16 |  |  | 12 | 1 |  | 3 |  |  | 16 |  | 4 | 4 |  |  |  | 8 | @ | 15" |  | 0.893 | 65
[83 empty] | PROJECT NO. |  |  | SHEET NO.
#REF!
[83 empty] | CONC. & BRICK PIPE PLUG, C.Y. STD. 840.71 | PIPE REMOVAL LIN. FT. |  | ABBREVIATIONS
[85 empty] | C.B. N.D.I. D.I. M.D.I. M.D.I.(N.S.) J.B. M.H. T.B.D.I. T.B.J.B. | CATCH BASIN NARROW DROP INLET DROP INLET MEDIAN DROP INLET MEDIAN DROP INLET (NARROW SLOT) JUNCTION BOX MANHOLE TRAFFIC BEARING DROP INLET TRAFFIC BEARING JUNCTION BOX
REMARKS
[85 empty] | #REF! | 2017-06-01 08:50
Note: Invert Elevations indicated are for Bid Purposes only and shall not be used for project construction stakeout.
See "Standard Specifications For Roads and Structures, Section 300-5".

## 48" & under Statewide (5)
| COMPUTED BY: |  |  |  | KA/MH | [10 empty] | DATE: | 5/4//2017 | [64 empty] | PROJECT NO. |  |  | SHEET NO.
| CHECKED BY: |  |  |  | BM | [10 empty] | DATE: | 2017-05-04 |  |  |  |  | NORTH CAROLINA DEPARTMENT OF TRANSPORTATION | [59 empty] | I-5786 |  |  | 3D-5
DIVISION OF HIGHWAYS
LIST OF PIPES, ENDWALLS, ETC. (FOR PIPES 48 INCHES & UNDER)
STATION | LOCATION (LT, RT, OR CL)' | STRUCTURE NO. |  | TOP ELEVATION | INVERT ELEVATION | INVERT ELEVATION | SLOPE CRITICAL | DRAINAGE PIPE (RCP, CSP, CAAP, HDPE, or PVC) | [11 empty] | WELDED STEEL PIPE | [7 empty] | R.C. PIPE CLASS III | [7 empty] | R.C. PIPE CLASS IV | [7 empty] | ** " R.C. PIPE (CLASS V) | ***" RC PIPE CULVERTS, CONTRACTOR DESIGN | ***" RC PIPE CULVERTS, CONTRACTOR DESIGN | 15" SIDE DRAIN PIPE | 18" SIDE DRAIN PIPE | ENDWALLS |  | QUANTITIES FOR DRAINAGE STRUCTURES *TOTAL L.F. FOR PAY QUANTITY SHALL BE COL. 'A' + (1.3 X COL.'B') |  |  | C.B. STD. 840.01 OR STD. 840.02 | FRAME, GRATES, AND HOOD STANDARD 840.03 |  |  | CONCRETE TRANSITIONAL SECTION |  | D.I. STD. 840.14 OR STD. 840.15 | D.I. FRAME WITH TWO GRATES STD. 840.16 | G.D.I. TYPE "A" STD. 840.17 OR 840.26 | G.D.I. TYPE "B" STD. 840.18 OR 840.27 | G.D.I. TYPE "D" STD. 840.19 OR 840.28 | G.D.I. FRAME WITH GRATE STD. 840.20 | G.D.I. FRAME WITH TWO GRATES STD. 840.20 | G.D.I. FRAME WITH TWO GRATES STD. 840.22 | G.D.I. (N.S.) FRAME WITH GRATE STD. 840.24 | G.D.I. (N.S.) FRAME WITH TWO GRATES STD. 840.24 | J.B. STD. 840.31 OR 840.32 | FRAME w/ COVER, STD. 840.54 | ADJUST D.I. | CONV. EXIST DI TO J.B. | T.B.D.I. STD. 840.35 | G.D.I. (N.S.) FRAME WITH GRATE STD. 840.29 | T.B.J.B. STD. 840.34 | FLOWABLE FILL (C.Y.) | G.D.I. TYPE "A" EXTRA DEPTH (SEE DETAIL SHEET 2C-16) | DRAINAGE PIPE ELBOWS NO. & SIZE | CONC. & BRICK PIPE PLUG, C.Y. STD. 840.71 |  | CONC. COLLARS CL. "B" C.Y. STD. 840.72 | PIPE REMOVAL LIN. FT. | ABBREVIATIONS
[49 empty] | STD. 838.01 838.11 OR STD. 838.80 (UNLESS NOTED OTHERWISE) | [34 empty] | C.B. N.D.I. D.I. G.D.I. G.D.I.(N.S.) J.B. M.H. T.B.D.I. T.B.J.B. | CATCH BASIN NARROW DROP INLET DROP INLET GRATED DROP INLET (NARROW SLOT) JUNCTION BOX MANHOLE TRAFFIC BEARING DROP INLET TRAFFIC BEARING JUNCTION BOX
[51 empty] | PER EACH (0' THRU 5.0') | LIN. FT. | [5 empty] | DROP INLET | CATCH BASIN
[8 empty] | 12 | 15 | 18 | 24 | 30 | 36 | 42 | 48 | DO NOT USE RCP | DO NOT USE CSP | DO NOT USE CAAP | DO NOT USE HDPE | 12 | 15 | 18 | 24 | 30 | 36 | 42 | 48 | 12 | 15 | 18 | 24 | 30 | 36 | 42 | 48 | 12 | 15 | 18 | 24 | 30 | 36 | 42 | 48 | [5 empty] | CU. YARDS
SIZE | [51 empty] | A | B
THICKNESS OR GAUGE |  | FROM | TO | [17 empty] | 0.28" THICK, GRADE B IN SOIL | 0.31" THICK, GRADE B IN SOIL | 0.31" THICK, GRADE B IN SOIL | [25 empty] | R.C.P. | C.S.P. |  | 5.0' THRU 10.0' | 10.0' AND ABOVE |  | TYPE OF GRATE
[55 empty] | E | F | G | [26 empty] | REMARKS
207+50 -L- | LT | 1902 |  | 179.5 | [46 empty] | 1 | [11 empty] | 1 |  |  | 1 | [5 empty] | 1 | [11 empty] | ADJUST DI FOR TRAFFIC PHASING
|  | 1902 | 1904 |  | 176.5 | 174.8 | [30 empty] | 84
208+37 -L- | RT | 1903 |  | 179.5 | 174.8 | [45 empty] | 1 | [11 empty] | 1 |  |  | 1 | [5 empty] | 1 | [11 empty] | ADJUST DI FOR TRAFFIC PHASING
|  | 1903 | 1904 |  | 174.8 | 174.8 | [31 empty] | 4
208+37 -L- | LT | 1904 |  | 179.1 | 174.8 | [45 empty] | 1 | [11 empty] | 1 |  |  | 1 | [5 empty] | 1 | [11 empty] | ADJUST DI FOR TRAFFIC PHASING
214+00 -L- | LT | 1905 |  | 177.8 | 174.5 | [45 empty] | 1 | [11 empty] | 1 |  |  | 1 | [5 empty] | 1 | [11 empty] | ADJUST DI FOR TRAFFIC PHASING
|  | 1905 | 1906 |  | 174.5 | 174.5 | [30 empty] | 4
214+00 -L- | RT | 1906 |  | 177.5 | 174.5 | [45 empty] | 1 | [11 empty] | 1 |  |  | 1 | [5 empty] | 1 | [11 empty] | ADJUST DI FOR TRAFFIC PHASING
|  | 1906 | 1908 |  | 174.5 | 173.5 | X | [29 empty] | 96
213+00 -L- | RT | 1907 |  | 177.8 | 173.5 | [45 empty] | 1 | [11 empty] | 1 |  |  | 1 | [5 empty] | 1 | [11 empty] | ADJUST DI FOR TRAFFIC PHASING
|  | 1907 | 1908 |  | 173.5 | 173.5 | [30 empty] | 4
213+00 -L- | LT | 1908 |  | 177.4 | 173.5 | [45 empty] | 1 | [11 empty] | 1 |  |  | 1 | [5 empty] | 1 | [11 empty] | ADJUST DI FOR TRAFFIC PHASING
|  | 1908 | 1910 |  | 173.5 | 166.5 | X | [29 empty] | 140
211+51 -L- | RT | 1909 |  | 178.1 | 166.5 | [45 empty] | 1 | 5 | 1.6 | [8 empty] | 1 |  |  |  | 1 | [5 empty] | 1 | [11 empty] | ADJUST DI FOR TRAFFIC PHASING
|  | 1909 | 1910 |  | 166.5 | 166.5 | [36 empty] | 8
211+56 -L- | LT | 1910 |  | 177.7 | 166.5 | [45 empty] | 1 | 5 | 1.2 | [8 empty] | 1 |  |  |  | 1 | [5 empty] | 1 | [11 empty] | ADJUST DI FOR TRAFFIC PHASING
219+60 -L- | RT | 2001 |  | 179.2 | 171 | [45 empty] | 1 | 3.2 | [10 empty] | 1 |  |  | 1 | [5 empty] | 1 | [11 empty] | ADJUST DI FOR TRAFFIC PHASING
|  | 2001 | 2002 |  | 171 | 171 | [31 empty] | 8
219+55 -L- | LT | 2002 |  | 179.2 | 171 | [45 empty] | 1 | 3.2 | [10 empty] | 1 |  |  | 1 | [5 empty] | 1 | [11 empty] | ADJUST DI FOR TRAFFIC PHASING
234+00-L- | RT | 2101 |  | 170.9 | 168.1 | [45 empty] | 1 | [11 empty] | 1 |  |  | 1 | [5 empty] | 1 | [11 empty] | ADJUST DI FOR TRAFFIC PHASING
|  | 2101 | 2102 |  | 168.1 | 168.1 | [30 empty] | 4
234+00 -L- | LT | 2102 |  | 170.9 | 168.1 | [45 empty] | 1 | [11 empty] | 1 |  |  | 1 | [5 empty] | 1 | [11 empty] | ADJUST DI FOR TRAFFIC PHASING
|  | 2102 | 2104 |  | 168.1 | 167 | [30 empty] | 96
233+02 -L- | RT | 2103 |  | 172.8 | 167 | [45 empty] | 1 | 0.8 | [10 empty] | 1 |  |  | 1 | [5 empty] | 1 | [11 empty] | ADJUST DI FOR TRAFFIC PHASING
|  | 2103 | 2104 |  | 167 | 167 | [33 empty] | 8
232+97 -L- | LT | 2104 |  | 172.8 | 167 | [45 empty] | 1 | 0.8 | [10 empty] | 1 |  |  | 1 | [5 empty] | 1 | [11 empty] | ADJUST DI FOR TRAFFIC PHASING
245+00 -L- | LT | 2201 |  | 152.5 | 149.5 | [45 empty] | 1 | [11 empty] | 1 |  |  | 1 | [5 empty] | 1 | [11 empty] | ADJUST DI FOR TRAFFIC PHASING
|  | 2201 | 2202 |  | 149.5 | 149.5 | [31 empty] | 4
245+00 -L- | RT | 2202 |  | 152.6 | 149.5 | [45 empty] | 1 | [11 empty] | 1 |  |  | 1 | [5 empty] | 1 | [11 empty] | ADJUST DI FOR TRAFFIC PHASING
|  | 2202 | 2204 |  | 149.5 | 149 | X | [30 empty] | 64
245+65 -L- | LT | 2203 |  | 152.3 | 149 | [45 empty] | 1 | [11 empty] | 1 |  |  | 1 | [5 empty] | 1 | [11 empty] | ADJUST DI FOR TRAFFIC PHASING
|  | 2203 | 2204 |  | 149 | 149 | [31 empty] | 4
245+65 -L- | RT | 2204 |  | 152.4 | 149 | [45 empty] | 1 | [11 empty] | 1 |  |  | 1 | [5 empty] | 1 | [11 empty] | ADJUST DI FOR TRAFFIC PHASING
|  | 2204 | 2206 |  | 149 | 148.4 | X | [30 empty] | 32
246+00 -L- | LT | 2205 |  | 152.3 | 148.4 | [45 empty] | 1 | [11 empty] | 1 |  |  | 1 | [5 empty] | 1 | [11 empty] | ADJUST DI FOR TRAFFIC PHASING
|  | 2205 | 2206 |  | 148.4 | 148.4 | [31 empty] | 4
246+00 -L- | RT | 2206 |  | 152.4 | 148.4 | [45 empty] | 1 | [11 empty] | 1 |  |  | 1 | [5 empty] | 1 | [11 empty] | ADJUST DI FOR TRAFFIC PHASING
|  | 2206 | 2208 |  | 148.4 | 147.8 | X | [30 empty] | 28
246+30 -L- | LT | 2207 |  | 152.3 | 147.8 | [45 empty] | 1 | [11 empty] | 1 |  |  | 1 | [5 empty] | 1 | [11 empty] | ADJUST DI FOR TRAFFIC PHASING
|  | 2207 | 2208 |  | 147.8 | 147.8 | [31 empty] | 4
246+30 -L- | RT | 2208 |  | 152.4 | 147.8 | [45 empty] | 1 | [11 empty] | 1 |  |  | 1 | [5 empty] | 1 | [8 empty] | 0.065 |  |  | ADJUST DI FOR TRAFFIC PHASING
|  | 2208 | 2209 |  | 147.8 | 145.7 | [16 empty] | 76 | [53 empty] | 5.1 |  |  |  | 0.065
263+96 -L- | CL | 2301 | [69 empty] | 1
296+61 -L- | CL | 2601 | [69 empty] | 1
302+22 -L- | RT | 2602 |  | 164.8 | UNK | [45 empty] | 1 | [11 empty] | 1 |  |  | 1 | [5 empty] | 1 | [11 empty] | ADJUST DI FOR TRAFFIC PHASING
SHEET TOTALS | [22 empty] | 76 | [13 empty] | 428 | 152 |  | 8 |  |  | 8 | [7 empty] | 24 | 18 | 2.8 | [8 empty] | 2 | 22 |  |  | 24 | [5 empty] | 26 |  |  |  |  | 5.1 |  |  |  | 0.13
[82 empty] | PROJECT NO. |  |  | SHEET NO.
#REF!
[82 empty] | CONC. & BRICK PIPE PLUG, C.Y. STD. 840.71 | PIPE REMOVAL LIN. FT. |  | ABBREVIATIONS
[84 empty] | C.B. N.D.I. D.I. M.D.I. M.D.I.(N.S.) J.B. M.H. T.B.D.I. T.B.J.B. | CATCH BASIN NARROW DROP INLET DROP INLET MEDIAN DROP INLET MEDIAN DROP INLET (NARROW SLOT) JUNCTION BOX MANHOLE TRAFFIC BEARING DROP INLET TRAFFIC BEARING JUNCTION BOX
REMARKS
[84 empty] | #REF! | 2017-06-01 08:50
Note: Invert Elevations indicated are for Bid Purposes only and shall not be used for project construction stakeout.
See "Standard Specifications For Roads and Structures, Section 300-5".

## 48" & under Statewide (6)
| COMPUTED BY: |  |  |  | KA/MH | [10 empty] | DATE: | 5/4//2017 | [66 empty] | PROJECT NO. |  |  | SHEET NO.
| CHECKED BY: |  |  |  | BM | [10 empty] | DATE: | 2017-05-04 |  |  |  |  | NORTH CAROLINA DEPARTMENT OF TRANSPORTATION | [61 empty] | I-5786 |  |  | 3D-6
DIVISION OF HIGHWAYS
LIST OF PIPES, ENDWALLS, ETC. (FOR PIPES 48 INCHES & UNDER)
STATION | LOCATION (LT, RT, OR CL)' | STRUCTURE NO. |  | TOP ELEVATION | INVERT ELEVATION | INVERT ELEVATION | SLOPE CRITICAL | DRAINAGE PIPE (RCP, CSP, CAAP, HDPE, or PVC) | [11 empty] | WELDED STEEL PIPE | [7 empty] | R.C. PIPE CLASS III | [7 empty] | R.C. PIPE CLASS IV | [7 empty] | ** " R.C. PIPE (CLASS V) | ***" RC PIPE CULVERTS, CONTRACTOR DESIGN | ***" RC PIPE CULVERTS, CONTRACTOR DESIGN | 15" SIDE DRAIN PIPE | 18" SIDE DRAIN PIPE | ENDWALLS |  | QUANTITIES FOR DRAINAGE STRUCTURES *TOTAL L.F. FOR PAY QUANTITY SHALL BE COL. 'A' + (1.3 X COL.'B') |  |  | C.B. STD. 840.01 OR STD. 840.02 | FRAME, GRATES, AND HOOD STANDARD 840.03 |  |  | CONCRETE TRANSITIONAL SECTION |  | D.I. STD. 840.14 OR STD. 840.15 | D.I. FRAME WITH TWO GRATES STD. 840.16 | G.D.I. TYPE "A" STD. 840.17 OR 840.26 | G.D.I. TYPE "B" STD. 840.18 OR 840.27 | G.D.I. TYPE "D" STD. 840.19 OR 840.28 | G.D.I. FRAME WITH GRATE STD. 840.20 | G.D.I. FRAME WITH TWO GRATES STD. 840.20 | G.D.I. FRAME WITH TWO GRATES STD. 840.22 | G.D.I. (N.S.) FRAME WITH GRATE STD. 840.24 | G.D.I. (N.S.) FRAME WITH TWO GRATES STD. 840.24 | J.B. STD. 840.31 OR 840.32 | FRAME w/ COVER, STD. 840.54 | ADJUST D.I. | CONV. EXIST DI TO J.B. | T.B.D.I. STD. 840.35 | G.D.I. (N.S.) FRAME WITH GRATE STD. 840.29 | T.B.J.B. STD. 840.34 | FLOWABLE FILL (C.Y.) | G.D.I. TYPE "A" EXTRA DEPTH (SEE DETAIL SHEET 2C-16) | DRAINAGE PIPE ELBOWS NO. & SIZE |  |  | CONC. & BRICK PIPE PLUG, C.Y. STD. 840.71 |  | CONC. COLLARS CL. "B" C.Y. STD. 840.72 | PIPE REMOVAL LIN. FT. | ABBREVIATIONS
[49 empty] | STD. 838.01 838.11 OR STD. 838.80 (UNLESS NOTED OTHERWISE) | [36 empty] | C.B. N.D.I. D.I. G.D.I. G.D.I.(N.S.) J.B. M.H. T.B.D.I. T.B.J.B. | CATCH BASIN NARROW DROP INLET DROP INLET GRATED DROP INLET (NARROW SLOT) JUNCTION BOX MANHOLE TRAFFIC BEARING DROP INLET TRAFFIC BEARING JUNCTION BOX
[51 empty] | PER EACH (0' THRU 5.0') | LIN. FT. | [5 empty] | DROP INLET | CATCH BASIN
[8 empty] | 12 | 15 | 18 | 24 | 30 | 36 | 42 | 48 | DO NOT USE RCP | DO NOT USE CSP | DO NOT USE CAAP | DO NOT USE HDPE | 12 | 15 | 18 | 24 | 30 | 36 | 42 | 48 | 12 | 15 | 18 | 24 | 30 | 36 | 42 | 48 | 12 | 15 | 18 | 24 | 30 | 36 | 42 | 48 | [5 empty] | CU. YARDS
SIZE | [51 empty] | A | B
THICKNESS OR GAUGE |  | FROM | TO | [17 empty] | 0.28" THICK, GRADE B IN SOIL | 0.31" THICK, GRADE B IN SOIL | 0.31" THICK, GRADE B IN SOIL | [25 empty] | R.C.P. | C.S.P. |  | 5.0' THRU 10.0' | 10.0' AND ABOVE |  | TYPE OF GRATE
[55 empty] | E | F | G | [28 empty] | REMARKS
|  | 2602 | 2603 |  | UNK | UNK | [31 empty] | 8
302+16 -L- | LT | 2603 |  | 164.4 | UNK | [45 empty] | 1 | [11 empty] | 1 |  |  | 1 | [5 empty] | 1 | [13 empty] | ADJUST DI FOR TRAFFIC PHASING
308+49 -L- | RT | 2604 |  | 177 | UNK | [45 empty] | 1 | [11 empty] | 1 |  |  | 1 | [5 empty] | 1 | [13 empty] | ADJUST DI FOR TRAFFIC PHASING
|  | 2604 | 2605 |  | UNK | UNK | [31 empty] | 4
308+49 -L- | LT | 2605 |  | 177 | UNK | [45 empty] | 1 | [11 empty] | 1 |  |  | 1 | [5 empty] | 1 | [13 empty] | ADJUST DI FOR TRAFFIC PHASING
317+28 -L- | RT | 2701 |  | 192 | 188.4 | [45 empty] | 1 | [11 empty] | 1 |  |  |  | 1
|  | 2701 | 2702 |  | 188.4 | 188.4 | X | [31 empty] | 4 | [44 empty] | 0.5526
317+10 -L- | RT | 2703 |  | 194 | 187.1 | [45 empty] | 1 | 1.9 | [10 empty] | 1 |  |  | 1 | [5 empty] | 1 | [13 empty] | ADJUST DI FOR TRAFFIC PHASING
|  | 2703 | 2704 |  | 187.1 | 187.1 | [32 empty] | 4
317+07 -L- | LT | 2704 |  | 194.1 | 187.1 | [45 empty] | 1 | 2 | [10 empty] | 1 |  |  | 1 | [5 empty] | 1 | [13 empty] | ADJUST DI FOR TRAFFIC PHASING
|  | 2705 | 2706 |  | 186.2 | 186.2 | [32 empty] | 4 | [44 empty] | 0.5526
311+87 -L- | LT | 2706 |  | 189.2 | 186.2 | [45 empty] | 1 | [12 empty] | 1 |  |  | 1
320+17 -L- | LT | 2707 |  | 194.5 | 190 | [45 empty] | 1 | [11 empty] | 1 |  |  |  | 1 | [17 empty] | 5
336+94 -L- | LT | 2901 |  | 203.2 | 200.4 | [45 empty] | 1 | [12 empty] | 1 |  | 1 | [5 empty] | 1 | [13 empty] | ADJUST DI FOR TRAFFIC PHASING
|  | 2901 | 2902 |  | 200.4 | 200.4 | [31 empty] | 8
336+94 -L- | RT | 2902 |  | 203.2 | 200.4 | [45 empty] | 1 | [12 empty] | 1 |  | 1 | [5 empty] | 1 | [13 empty] | ADJUST DI FOR TRAFFIC PHASING
342+76 -L- | RT | 2903 |  | 199.5 | 196.7 | [45 empty] | 1 | [11 empty] | 1 |  |  | 1 | [5 empty] | 1 | [13 empty] | ADJUST DI FOR TRAFFIC PHASING
|  | 2903 | 2904 |  | 196.7 | 196.7 | [30 empty] | 4
342+76 -L- | LT | 2904 |  | 199.4 | 196.7 | [45 empty] | 1 | [11 empty] | 1 |  |  | 1 | [5 empty] | 1 | [13 empty] | ADJUST DI FOR TRAFFIC PHASING
|  | 2904 | 2906 |  | 196.7 | 195.3 | X | [29 empty] | 320
346+00 -L- | RT | 2905 |  | 198.6 | 195.3 | [45 empty] | 1 | [11 empty] | 1 |  |  | 1 | [5 empty] | 1 | [13 empty] | ADJUST DI FOR TRAFFIC PHASING
|  | 2905 | 2906 |  | 195.3 | 195.3 | [30 empty] | 4
346+00 -L- | LT | 2906 |  | 198.6 | 195.3 | [45 empty] | 1 | [11 empty] | 1 |  |  | 1 | [5 empty] | 1 | [13 empty] | ADJUST DI FOR TRAFFIC PHASING
|  | 2906 | 2908 |  | 195.3 | 194.5 | X | [29 empty] | 96
347+00 -L- | RT | 2907 |  | 198.5 | 194.5 | [45 empty] | 1 | [11 empty] | 1 |  |  | 1 | [5 empty] | 1 | [13 empty] | ADJUST DI FOR TRAFFIC PHASING
|  | 2907 | 2908 |  | 194.5 | 194.5 | [30 empty] | 4
347+00 -L- | LT | 2908 |  | 198.5 | 194.5 | [45 empty] | 1 | [11 empty] | 1 |  |  | 1 | [5 empty] | 1 | [13 empty] | ADJUST DI FOR TRAFFIC PHASING
|  | 2908 | 2910 |  | 194.5 | 192.7 | X | [29 empty] | 48
347+50 -L- | RT | 2909 |  | 198.6 | 192.7 | [45 empty] | 1 | 0.9 | [10 empty] | 1 |  |  | 1 | [5 empty] | 1 | [13 empty] | ADJUST DI FOR TRAFFIC PHASING
|  | 2909 | 2910 |  | 192.7 | 192.7 | [30 empty] | 4
347+50 -L- | LT | 2910 |  | 198.5 | 192.7 | [45 empty] | 1 | 0.8 | [10 empty] | 1 |  |  | 1 | [5 empty] | 1 | [13 empty] | ADJUST DI FOR TRAFFIC PHASING
|  | 2910 | 2912 |  | 192.7 | 191.7 | X | [29 empty] | 20
347+74 -L- | RT | 2911 |  | 198.6 | 191.7 | [45 empty] | 1 | 1.9 | [10 empty] | 1 |  |  | 1 | [5 empty] | 1 | [13 empty] | ADJUST DI FOR TRAFFIC PHASING
|  | 2911 | 2912 |  | 191.7 | 191.7 | [30 empty] | 4
347+74 -L- | LT | 2912 |  | 198.5 | 191.7 | [45 empty] | 1 | 1.8 | [10 empty] | 1 |  |  | 1 | [5 empty] | 1 | [13 empty] | ADJUST DI FOR TRAFFIC PHASING
360+81 -L- | RT | 3001 | 3002 |  | 191.2 | 191.2 | [31 empty] | 20 | [45 empty] | 0.4465
360+80 -L- | RT | 3003 |  | 196.9 | 190.5 | [45 empty] | 1 | 1.4 | [10 empty] | 1 |  |  | 1 | [5 empty] | 1 | [13 empty] | ADJUST DI FOR TRAFFIC PHASING
|  | 3003 | 3004 |  | 190.5 | 190.5 | [31 empty] | 4
360+80 -L- | LT | 3004 |  | 196 | 190.5 | [45 empty] | 1 | 0.5 | [10 empty] | 1 |  |  | 1 | [5 empty] | 1 | [13 empty] | ADJUST DI FOR TRAFFIC PHASING
CONTINGENCY | [20 empty] | 160 | 72 | [15 empty] | 400 |  |  | 60 | [35 empty] | 17
ITEMS FOR
POTENTIAL REPAIRS
SHEET TOTALS | [20 empty] | 160 | 72 | [14 empty] | 504 | 444 | 12 |  | 60 | [9 empty] | 22 | 11.2 | [10 empty] | 19 | 3 |  | 19 | 3 |  |  |  |  | 19 |  |  |  |  | 17 | [6 empty] | 1.5517 | 5
PROJECT TOTALS | [8 empty] | 348 | [11 empty] | 160 | 72 | 76 | [13 empty] | 2448 | 2000 | 232 | 16 | 76 |  | 8 | [7 empty] | 127 | 105.79 | [9 empty] | 6 | 92 | 13 |  | 105 | 8 |  | 3 |  | 1 | 113 | 1 | 10 | 10 | 1 | 22.1 | 5 | 14 | @ | 15" |  | 0.13 | 4.4532 | 529
SAY | [51 empty] | 106 | [31 empty] | 5
[84 empty] | PROJECT NO. |  |  | SHEET NO.
#REF!
[84 empty] | CONC. & BRICK PIPE PLUG, C.Y. STD. 840.71 | PIPE REMOVAL LIN. FT. |  | ABBREVIATIONS
[86 empty] | C.B. N.D.I. D.I. M.D.I. M.D.I.(N.S.) J.B. M.H. T.B.D.I. T.B.J.B. | CATCH BASIN NARROW DROP INLET DROP INLET MEDIAN DROP INLET MEDIAN DROP INLET (NARROW SLOT) JUNCTION BOX MANHOLE TRAFFIC BEARING DROP INLET TRAFFIC BEARING JUNCTION BOX
REMARKS
[86 empty] | #REF! | 2017-06-01 08:50
Note: Invert Elevations indicated are for Bid Purposes only and shall not be used for project construction stakeout.
See "Standard Specifications For Roads and Structures, Section 300-5".