U-2729 PLFI Comments

Title Sheet:

- Signals is not major work – remove

  - Revised as noted.

- Add Begin/End construction limits to cover resurfacing on US 52

  - Revised layout on TS to show US 52.

- Provide ADT for let and design years (2023, 2043)

  - Revised as noted.

Typical Sections (2A-1):

- Update/verify to final pavement design provided on 11/23/22

  - Verified and revised note on pavement schedule

- Add to pavement schedule (variable depth B25.0C)

  - Added

- Use NCDOT Standard (distance on milling detail)

  - Revised to 50’

- Add typicals as needed for US 52

  - Added typical sections – sheet 2A-7.

Typical Sections (2A-2):

- Check locations on plans for widths. Can this be adjusted? Bench mill as needed. (TS No. 1)

  - Bench mill locations shown as needed.

Typical Sections (2A-4):

- Pavement type here (TS No. 9)

  - Revised as noted.

- Remove exist. pavement here (TS No. 9)

  - Existing pavement not shown.

Typical Sections (2A-6):

- Check drainage/curb (TS Nos. 15 & 17)

  - Revised TS 15 & 17 to show correct shld/c&g treatment.

Intersection Detail (2B-1):

- CR (add symbol)

  - Added CR

Summaries Sheet (3B-2):

- Geotech Report:

  - 1000 CY – Loss due to clearing and grubbing

    - Added loss due to C&G

  - 15% Shrinkage factor for embankments

    - 15% used.

Geotechnical Summaries (3G-1):

- Remove any summary tables are aren’t being used

  - Division to request Geotech for revision.

- Fill on contingences and waiting period on structures

  - Division to request Geotech for revision.

Plan Sheets (4):

- Break CA here and check linestyles (on parcel 2 near roundabout)

  - CA broken across lanes approaching RAB. Updated line styles

Plan Sheets (5):

- Cross sections and detail sheet do not cover this area of island. Appears to be ending at existing terminus but with a different radius. (ramp/loop B)

  - Radius label added for end of proposed island.

- XSC for LPA start at 17+00 -RPA and don’t cover this area (between ramp & loop A)

  - XSC added for LPA for 13+50 & 14+00.

- XSC shows C&G on this side, but typical sections and detail do not. Also, island does not show up in XSC. (ramp/loop B)

  - C&G rectified to match typicals and plans. Island added to Cross Sections

- Overlay ramp and loops

  - Linework added to illustrate Overlay on ramps and loops.

- Retain concrete ditch, check FS (inside loop A)

  - Note added to retain Conc. Ditch.

- Space guardrail to miss gas line utilize guardrail nesting detail over gas line (loop A)

  - Note added to utilize nesting detail to avoid gas line with GR posts.

- Past surveys; are we good with tie in based on top elev for CB? (landfill entrance)

- How fence for landfill being handled?

  - CA fence terminus clarified at tie with Landfill

- Check drainage, make sure outlet is functionable (landfill entrance)

- CR (add symbol)

  - CR symbol added

- Widen R to better allow u-turns, within existing ROW. Check utility plans (y5 intersection)

Plan Sheets (6):

- BB&T/Truist has a plan to put a new driveway here and reconfigure the existing driveway to the east as an exist only. We will provide the site plan with comments.

- Pavement Removal hatching legend/cell?

  - Pavement removal hatching legend added to appropriate sheets.

- Details for retaining walls?

  - Updated Truist site plan eliminated driveway around building and retaining wall no longer required

- Where does CA end? (39+50 lt)

  - Incorrect duplicate CA label removed

- Direct buried fiberglass streetlight pole. Duke Energy/leased by City of WS. Needs to be relocated.

- This entire section of sidewalk appears to be misrepresented in the XSC. A 10' berm is shown in the XSC.  However, the sidewalk is set further back and since the grade is being raised, what is shown on the plan sheet will be on a slope past the catch point.

  - Proposed sidewalk shifted back onto Berm and shift over to existing moved to end of project

- Back of curb for parking should be just outside of RW not inside. (parcel 22)

  - Proposed curb in parking lot shifted outside of ROW

- Tie to existing sidewalk (near end of L)

  - Shift added to end of project to tie to existing sidewalk

- Pavement removal (parcel 22)

  - Pavement Removal added at edge of parking lot

- Provide radii for drives that are not covered in the detail sheets.

  - Radius labels added for driveway curbs not covered in detail sheets

- TB JB/ MH (0651)

- Back of curb needs to be outside of RW (parcel 14)

  - Proposed curb in parking lot shifted outside of ROW

- Remove island (Y6B)

  - Island removed

- Check outlet, replace box (0638)

- XSC for 52+50 still shows slope stake for 10' berm and not tying back into existing curb. Note slope cutting thru sidewalk.

  - XS 52+50 updated to show tie into existing curbs

- What is this curb tying into? (parcel 16)

  - Curb shifted to tie into existing curb in parking lot

- Can this fiberglass direct buried pole be filled around?

- Extend resurfacing past drainage structures (Y6B)

  - Resurfacing extended past proposed drainage to Sta. 14+25

- End Construction (Y6B)

  - End construction label updated to “End Grade” label

- Can these shelters remain in place until the contractor is working in this area? WSTA/WSDOT has a contractor who can remove given 48 hours notice. Note to co

- existing flooding issue to the south

Plan Sheets (7):

- Shouldn't this sheet be flipped 90 to match direction of adjoining sheet?

  - Sheet flipped

- This property is being redeveloped. We will provide site plan to show driveway location. (parcel 18 & 19)

- Slope cuts thru sidewalk.  There is no typical, align, detail, or profile for Sunburst. I assume this is a 10' berm. May need to run at back of curb. (at Sunburst intersection)

  - Cross section added and SS updated to show berm correctly on what is now DR1

- Drive connection and tie (parcel 31)

- Turn on BL/BY labels

  - BL/BY labels turned on

- Can’t read radius (under “0618” label)

  - Radius label moved out of conflict with drainage label

Cross Sections:

X-A:

- Sheets are out of order

  - Sheet numbers and index corrected to match and show sheet order correctly

X-18:

- Wider berm needed in this area for shelter pad

  - Sidewalk shifted and berm widened to accommodate replacement Shelter Pad

X-30:

- Plans do not show curb and gutter on the loop in this area.

  - Curb and Gutter removed and clarified in Plans and Typical